Industrial EKG

MCM Rental / Demo Kit Packing List

Item	Qty	Description

----------------------------------------------------------------------------------------------------------------------------

1	1	Wheeled, padded travel case with handle

2	1	Enclosure with clear cover, MCM, circuit breakers, CT disconnect switches, and light

3	1	Voltage test cable with 3x alligator clips

4	1	Current test cable with 6x open spade connectors

5	3	Current transformers

6	1	Clamp-on Ammeter/Voltmeter with probe leads

7	1	US 110 VAC power cord

8	1	DB9 Male-Female serial extension cable

9	1	MOXA Ethernet-RS422 communications converter cable with AC adapter

10	1	Orange Ethernet crossover cable, 10 ft

11	1	Short Phillips screwdriver for CT screws

12	1	CD containing demo software, USB-Serial driver, and documentation

13	1	Install instructions in clear sheet cover

14	1	Comm defaults set and tested

15	1	This packing list

16	1	For International customers, Commercial Invoice and Statement of Origin

Packaging

Shipping Weight					32 lbs / 14.5 kg

Shipping Size						22 x 14 x 9.50 in / 56 x 34 x 24 cm

Industrial EKG March 2010